## Slide 1: 3535xp 1-3w Ceramic smd
Green
Quality
Innovation
Product catalogue
2015 Q1-Q2

## Slide 2: contents
Applications
White
  Flip-Chip Series
  High CRI Series
  Automotive
Colour
  Plant Growing
  Automotive
Infrared (IR)
Ultraviolet (UV)
IC Driver

## Slide 3: Applications
High Bay Light
Street Light
General Lighting
Plant Growing Light
Stage Lighting
Architectural Lighting
Outdoor Lighting
Automotive Lighting *
* under AEC-Q101 testing, available in 2015 Q2

## Slide 4: White

## Slide 5: 3535 white
P/N
Product Description
N0W10S07P | 3535 2.0t, Warm White, 1500-1900lm, 1~3W, 350/700/1000mA, 75/131/168lm, 3.2V, 120°, Automotive, CRI 70
N0W10S05 | 3535 2.0t, Warm White, 1980-2240K, 1~3W, 350/700/1000mA, 80/140/180lm, 3V, 120°, CRI 70
N0W06S60 | 3535 2.0t, Warm White, 2580-3710K, 1~2W, 350mA, 100lm, 3.2V, 120°, CRI 80
N0W09S09 | 3535 2.0t, Warm White, 2725-3045K, 1~3W, 350/700/1000mA, 110/192/247lm, 3V, 120°, CRI 82
N0W09S96ZP | 3535 2.0t, Warm White, 2725-3045K, 1~2W, 350/700mA, 78/131lm, 3.2V, 120°, with Zeners, CRI 90
N0W06S59 | 3535 2.0t, Natural White, 3710-4745K, 1~2W, 350mA, 120lm, 3.2V, 120°, CRI 80
N0W09S94ZP | 3535 2.0t, Natural White, 3710-4260K, 1~2W, 350/700mA, 90/157lm, 3.2V, 120°, with Zeners, CRI 90
N0W10S02 | 3535 2.0t, Natural White, 3710-4260K, 1~3W, 350/700/1000mA, 130/227/292lm, 3V, 120°, CRI 70
N0W10S03 | 3535 2.0t, Natural White, 3710-4260K, 1~3W, 350/700/1000mA, 110/192/247lm, 3V, 120°, CRI 82
N0W06S58 | 3535 2.0t, Cool White, 4745-7040K, 1~2W, 350mA, 120lm, 3.2V, 120°, CRI 70
N0W09S92ZP | 3535 2.0t, Cool White, 4746-5310K, 1~2W, 350/700mA, 90/157lm, 3.2V, 120°, with Zeners, CRI 90
N0W10S01 | 3535 2.0t, Cool White, 4746-5310K, 1~3W, 350/700/1000mA, 130/227/292lm, 3V, 120°, CRI 70
N0W16S69 | 3535 2.0t, Cool White, 5310-6020K, 1~3W, 350/700/1000mA, 120/210/270lm, 3.2V, 120°, CRI 82
N0W09S89ZP | 3535 2.0t, Cool White, 5710-6530K, 1~2W, 350/700mA, 100/175lm, 3.2V, 120°, with Zeners, CRI 90
N0W09S99 | 3535 2.0t, Cool White, 5710-6530K, 1~3W, 350/700/1000mA, 130/227/292lm, 3V, 120°, CRI 70
N0W10S00 | 3535 2.0t, Cool White, 5710-6530K, 1~3W, 350/700/1000mA, 120/210/270lm, 3V, 120°, CRI 82
N0W10S06P | 3535 2.0t, Cool White, 5710-8530K, 1~3W, 350/700/1000mA, 130/227/292lm, 3.2V, 120°, Automotive, CRI 70

## Slide 6: FLIP-CHIP SERIES
P/N
Product Description
N0W10S07P | 3535 2.0t, Warm White, 1500-1900lm, 1~3W, 350/700/1000mA, 75/131/168lm, 3.2V, 120°, Automotive, CRI 70
N0W10S05 | 3535 2.0t, Warm White, 1980-2240K, 1~3W, 350/700/1000mA, 80/140/180lm, 3V, 120°, CRI 70
N0W09S09 | 3535 2.0t, Warm White, 2725-3045K, 1~3W, 350/700/1000mA, 110/192/247lm, 3V, 120°, CRI 82
N0W10S02 | 3535 2.0t, Natural White, 3710-4260K, 1~3W, 350/700/1000mA, 130/227/292lm, 3V, 120°, CRI 70
N0W10S03 | 3535 2.0t, Natural White, 3710-4260K, 1~3W, 350/700/1000mA, 110/192/247lm, 3V, 120°, CRI 82
N0W10S01 | 3535 2.0t, Cool White, 4746-5310K, 1~3W, 350/700/1000mA, 130/227/292lm, 3V, 120°, CRI 70
N0W16S69 | 3535 2.0t, Cool White, 5310-6020K, 1~3W, 350/700/1000mA, 120/210/270lm, 3.2V, 120°, CRI 82
N0W09S99 | 3535 2.0t, Cool White, 5710-6530K, 1~3W, 350/700/1000mA, 130/227/292lm, 3V, 120°, CRI 70
N0W10S00 | 3535 2.0t, Cool White, 5710-6530K, 1~3W, 350/700/1000mA, 120/210/270lm, 3V, 120°, CRI 82
N0W10S06P | 3535 2.0t, Cool White, 5710-8530K, 1~3W, 350/700/1000mA, 130/227/292lm, 3.2V, 120°, Automotive, CRI 70

## Slide 7: Flip-chip Series
Flip-Chip (Wire-Bond Free)
Higher performance and higher reliability.
Shorter thermal path. Better thermal resistance.
Phosphor convert process (phosphor-on-die).
Higher driving current. Driving current upto 1A.
No shadow of wire. Higher light output.
Eutectic die-bonding process applied.

## Slide 8: High cri series
P/N
Product Description
N0W09S96P | 3535 2.0t, Warm White, 2725-3045K, 1~2W, 350/700mA, 78/131lm, 3.2V, 120°, with Zeners, CRI 90
N0W09S94P | 3535 2.0t, Natural White, 3710-4260K, 1~2W, 350/700mA, 90/157lm, 3.2V, 120°, with Zeners, CRI 90
N0W09S92P | 3535 2.0t, Cool White, 4746-5310K, 1~2W, 350/700mA, 90/157lm, 3.2V, 120°, with Zeners, CRI 90
N0W09S89P | 3535 2.0t, Cool White, 5710-6530K, 1~2W, 350/700mA, 100/175lm, 3.2V, 120°, with Zeners, CRI 90
Warm White
Natural White
Cool White
CRI=90

## Slide 9: AUTOMOTIVE
P/N
Product Description
N0W10S07P | 3535 2.0t, Warm White, 1500-1900lm, 1~3W, 350/700/1000mA, 75/131/168lm, 3.2V, 120°, Automotive, CRI 70
N0W10S06P | 3535 2.0t, Cool White, 5710-8530K, 1~3W, 350/700/1000mA, 130/227/292lm, 3.2V, 120°, Automotive, CRI 70
Features:
External / Internal Automotive Application
NiPdAu Lead Frame
Flip-Chip (Wire-Bond Free)
Application:
  Daytime Running Light (DRL)
  Head Lamp
  Door Lamp
  Reading Lamp
*
* under AEC-Q101 testing, available in 2015 Q2

## Slide 10: Colour

## Slide 11: 3535 COLOUR
P/N
Product Description
N0B09S84Z | 3535 2.0t, Blue, 450-460nm, 1~2W, 350/700mA, 16/26lm, 3.4V, 120°, with Zeners, for Plant Growing
N0B09S80Z | 3535 2.0t, Blue, 460-470nm, 1~2W, 350/700mA, 28/46lm, 3.4V, 120°, with Zeners
N0B16S70Z | 3535 2.0t, Blue, 470-480nm, 1~2W, 350/700mA, 35/56lm, 3.4V, 120°, with Zeners
N0G09S79Z | 3535 2.0t, Green, 520-530nm, 1~2W, 350/700mA, 100/165lm, 3.4V, 120°, with Zeners
N0Y09S81 | 3535 2.0t, Yellow, 585-595nm, 1~2W, 350/700mA, 55/93lm, 2.4V, 120°
N0Y10S12P | 3535 2.0t, Yellow, 585-595nm, 1~2W, 350/700mA, 55/93lm, 2.4V, 120°, Automotive
N0R09S78 | 3535 2.0t, Red, 620-630nm, 1~2W, 350/700mA, 50/85lm, 2.4V, 120°
N0R16S77P | 3535 2.0t, Red, 620-630nm, 1~2W, 350/700mA, 55/93lm, 2.4V, 120°, Automotive
N0R16S78P | 3535 2.0t, Red, 620-630nm, 1~2W, 350/700mA, 55/93lm, 2.4V, 60°, Automotive
N0R09S83 | 3535 2.0t, Red, 650-670nm, 1~2W, 350/700mA, 18/30lm, 2.4V, 120°, for Plant Growing

## Slide 12: PLANT GROWING
P/N
Product Description
N0B09S84Z | 3535 2.0t, Blue, 450-460nm, 1~2W, 350/700mA, 16/26lm, 3.4V, 120°, with Zeners, for Plant Growing
N0R09S83 | 3535 2.0t, Red, 650-670nm, 1~2W, 350/700mA, 18/30lm, 2.4V, 120°, for Plant Growing
SL: Solar Light
PAR: Photosynthetically Active Radiation

## Slide 13: AUTOMOTIVE
Features:
External / Internal Automotive Application
NiPdAu Lead Frame
Application:
  Stop Light
  Turning Light
  Turning Light on Mirror
*
* under AEC-Q101 testing, available in 2015 Q2
P/N
Product Description
N0Y10S12P | 3535 2.0t, Yellow, 585-595nm, 1~2W, 350/700mA, 55/93lm, 2.4V, 120°, Automotive
N0R16S77P | 3535 2.0t, Red, 620-630nm, 1~2W, 350/700mA, 55/93lm, 2.4V, 120°, Automotive
N0R16S78P | 3535 2.0t, Red, 620-630nm, 1~2W, 350/700mA, 55/93lm, 2.4V, 60°, Automotive

## Slide 14: Infrared (ir)

## Slide 15: 3535 Infrared (ir)
P/N
Product Description
N0F10S09 | 3535 2.0t, Infrared (IR), 840-870nm, 1~4W, 350/1400mA, 275/832mW, 1.6V, 60°
N0F10S11 | 3535 2.0t, Infrared (IR), 840-870nm, 1~4W, 350/1400mA, 275/832mW, 1.6V, 120°
N0F16S71 | 3535 2.0t, Infrared (IR), 840-870nm, 1~3W, 350/1000mA, 250/650mW, 1.6V, 120°
N0F16S72 | 3535 2.0t, Infrared (IR), 840-870nm, 1~3W, 350/1000mA, 250/650mW, 1.6V, 60°
N0F16S73 | 3535 2.0t, Infrared (IR), 840-870nm, 1~2W, 350/600mA, 225/382mW, 1.6V, 120°
N0F16S74 | 3535 2.0t, Infrared (IR), 840-870nm, 1~2W, 350/600mA, 225/382mW, 1.6V, 60°
N0F16S32P | 3535 Flat 1.0t , Infrared (IR), 840-870nm, 1~3W, 350/1000mA, 240/650mW, 1.6/2.2V, 120°
N0F16S33P | 3535 Flat 1.0t , Infrared (IR), 930-950nm, 1~3W, 350/500mA, 240/410mW, 1.6/1.8V, 120°
Flat Lens
for flexible 2nd optics design
Application:
  Security Device
  Surveillance Camera
  Plant Growing Light
  De-Icing for Traffic Signs
  Automotive:
  Event Data Recorder*
60°
120°
* under AEC-Q101 testing, available in 2015 Q2
Available with 60°, 120° and Flat lens

## Slide 16: Ultraviolet (UV)

## Slide 17: 3535 Ultraviolet (UV)
P/N
Product Description
N0Q10S93Z | 3535 2.0t, Ultraviolet (UV), 390-410nm, 1~2W, 500/700mA, 740/984mW, 3.72V, 120°, with Zeners
N0Q10S94Z | 3535 2.0t, Ultraviolet (UV), 390-410nm, 1~2W, 500/700mA, 740/984mW, 3.72V, 60°, with Zeners
N0Q10S95Z | 3535 2.0t, Ultraviolet (UV), 380-390nm, 1~2W, 500/700mA, 740/984mW, 3.72V, 120°, with Zeners
N0Q10S96Z | 3535 2.0t, Ultraviolet (UV), 380-390nm, 1~2W, 500/700mA, 740/984mW, 3.72V, 60°, with Zeners
N0Q16S79Z | 3535 2.0t, Ultraviolet (UV), 410-430nm, 1~2W, 500/700mA, 740/984mW, 3.72V, 120°, with Zeners
N0Q16S80Z | 3535 2.0t, Ultraviolet (UV), 410-430nm, 1~2W, 500/700mA, 740/984mW, 3.72V, 60°, with Zeners
Application:
  Industrial Curing
  Air Purifier
  Poster Printing Curing
  Counterfeit Money Detector
  Blood Detector
  Nail Curing
  Teeth Curing
60°
120°
Available with 60° and 120° lens

## Slide 18: Ic driver

## Slide 19: IC Driver
SCT2001
SCT2004
SCT2007
SCT2008
SCT2016
SCT2301
SCT2508
SCT2514
SCT2518
SCT2932
SCT2001
SCT2004
SCT2008
SCT2016
SCT2508
SCT2514
SCT2518
SCT2301
SCT2932
SCT2007
SCT2010
SCT2024
SCT2026
SCT2027
SCT2110
SCT2167
SCT2168
SCT2180
SCT2024
SCT2026
SCT2027
SCT2110
SCT2167
SCT2168
Lighting
Backlighting
High Power
RGB Display
VMS

## Slide 20: BRIGHTEK
Brightek (Europe) LIMITED
5 Cochrane House
Admirals Way
London E14 9UD
United Kingdom
www.brightekeurope.com
For distributors in your region,
please visit out web page here.