## Slide 1: Indoor lighting
Green
Quality
Innovation

## Slide 2: contents
Technology
  Innovation
  MacAdam Binning
  CRI Chart
LED for Indoor Lighting
  PLCC SMD Range
  Mid-Power Package
  Ceramic High Power
Light Engine
  COB (Chip-on-Board)
  LED Filament
  Double-sided COB
  IC-Embedded COB
LED Modules / OEM
IC Driver

## Slide 3: TECHNOLOGY

## Slide 4: Innovation
* in selected range
Flip-Chip (Wire-Bond Free)
Eutectic Die-Bonding
Energy Star Binning / MacAdam Binning
Various Colour Temperature Range
High CRI 80-95+
Phosphor Coating on Die
Tight Bin Selection

## Slide 5: Macadam binning
MacAdam Ellipse | Human Eyes Observation
1 Step | Indistinguishable
2-4 Steps | Barely distinguishable
5-7 Steps | Readily distinguishable
8+ Steps | Distinguishable
ANSI Standard Binning
8-Step
6-Step
4-Step
MacAdam
Ellipse
CIE 1931 Chromaticity Diagram
X
Y
MacAdam Ellipse - Colour:
MacAdam Ellipse - White:
* 4-Steps or 6-Steps are available in selected range

## Slide 6: CRI chart
Warm White
Natural White
Cool White
CRI=70
CRI=80
CRI=90
* in selected range

## Slide 7: LED FOR indoor lighting

## Slide 8: PLCC SMD Range

## Slide 9: Mid-power package
3020 Series
2835 Series
3030 Series
5630 Series
- 0.2/0.5W
- 60/150mA
- White & Colour
- 0.2/0.5/1W
- 60/150/350mA
- White & Colour
- 0.2/0.5/1W
- 120/150/350mA
- White & Colour
- 0.2/0.5W
- 60/150mA
- White
4014 Series
- 0.2W
- 60mA
- Sky White
7020 Series
- 0.5W
- 150mA
- Sky White

## Slide 10: CERAMIC HIGH POWER
3535 Series
- 1-3W
- 350-700mA
- White & Colour
5252 WRGB Series
- 4W
- 350mA each Colour
Secondary Optics
Available

## Slide 11: Light engine

## Slide 12: COB (CHIP-ON-BOARD)
Features:
Available in Aluminium and Ceramic Solution
Compatible Holder and Reflector
High CRI, High Efficiency
COB Holder
Reflector
 | Aluminium | Ceramic
Thermal Resistance | Low | Very Low
Material Cost | Low | High
Base Structure | Strong | Frangible
Decay | Mid-Low | Very Low
Installation | Screw or Holder | Holder

## Slide 13: LED Filament
Features:
38mm and 67.4mm Available
Linear COB (22S/27S/45S)
High Voltage (65V/75V/130V)
Various Wattage 0.65W/0.75W/1.3W
360° Emitting Angle
High CRI 80+
Factory OEM / White Label Lighting Products
* cooling gas need to be filled

## Slide 14: Double-sided cob
Features:
Double-Sided Emitting (Omni-Directional)
Heat Sink Not Required *
Available in Components or Modules
Installation: Solder on 3D PCB or Insert in PCB Slot
High CRI 80+
High Efficiency (up to 180lm/W)
* please refer to datasheet for non-heat sink wattage condition

## Slide 15: IC-EMBEDDED COB
Features:
Direct Connect to AC 110V or 220V
No Transformer Required
Minimise Circuit Design
Saving Components Cost
High CRI and Performance
* EMI Reduction Circuit, Surge Protection Circuit, and Heat Control Circuit is recommended to add into the design

## Slide 16: LED Modules

## Slide 17: LED Modules / OEM
for Spotlight
for Light Bulb
for Corn Lamp
for PAR / Down Light
for Grid Light / Light Bar
for Street Light

## Slide 18: Ic driver

## Slide 19: IC Driver
SCT2001
SCT2004
SCT2007
SCT2008
SCT2016
SCT2301
SCT2508
SCT2514
SCT2518
SCT2932
SCT2001
SCT2004
SCT2008
SCT2016
SCT2508
SCT2514
SCT2518
SCT2301
SCT2932
SCT2007
SCT2010
SCT2024
SCT2026
SCT2027
SCT2110
SCT2167
SCT2168
SCT2180
SCT2024
SCT2026
SCT2027
SCT2110
SCT2167
SCT2168
Lighting
Backlighting
High Power
RGB Display
VMS

## Slide 20: BRIGHTEK
Brightek (Europe) LIMITED
5 Cochrane House
Admirals Way
London E14 9UD
United Kingdom
www.brightekeurope.com
For distributors in your region,
please visit out web page here.